## X-am 8000__ARUB-0025
H2S
| A1 alarm |  |  |  | 10.00 ppm
| A2 alarm |  |  |  | 15.00 ppm
| Part number |  |  |  | 6811525
| Serial number |  |  |  | ARSL0420
| Interval creation |  |  |  | Value | Moving average
[5 empty] | measured | 15min
78 | VAL | 2026-04-15 | 8:42 |  | 0
78 | EVE | 2026-04-16 | 19:41 | Device Event Battery Pre-Alarm set: Battery voltage is low, shutdown in about 20 minutes
78 | EVE | 2026-04-16 | 21:44 | Device Event Battery Pre-Alarm reset: Battery voltage is low, shutdown in about 20 minutes
78 | EVE | 2026-04-16 | 21:44 | Device Event Battery Main-Alarm set: Battery voltage is very low, shutdown in a few seconds