## X-am 8000__ARUB-0025
H2S
| A1 alarm |  |  |  | 10.00 ppm
| A2 alarm |  |  |  | 15.00 ppm
| Part number |  |  |  | 6811525
| Serial number |  |  |  | ARSL0420
| Interval creation |  |  |  | Avg. | Moving average | Peak
[5 empty] | 1min | 15min | Min. | Max.
79 | EVE | 2026-04-16 | 21:44 | Pump off
79 | EVE | 2026-04-18 | 10:53 | Device Event Battery Main-Alarm reset: Battery voltage is very low, shutdown in a few seconds
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning set: sensor in warm up 2
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning set: sensor in warm up 1
79 | EVE | 2026-04-18 | 10:54 | Event Adapter Pump attached
79 | EVE | 2026-04-18 | 10:54 | Pump on
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning reset: sensor in warm up 2
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning reset: sensor in warm up 1
79 | EVE | 2026-04-18 | 10:54 | Leakagetest Pump passed successful
79 | VAL | 2026-04-18 | 10:55 |  | 0 |  | 0 | 0
79 | VAL | 2026-04-18 | 10:56 |  | 0 |  | 0 | 0
79 | VAL | 2026-04-18 | 10:57 |  | 0 |  | 0 | 0
79 | VAL | 2026-04-18 | 10:58 |  | 0 |  | 0 | 0
79 | VAL | 2026-04-18 | 10:59 |  | 0 |  | 0 | 0
79 | VAL | 2026-04-18 | 11:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 11:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 12:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 13:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 14:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 15:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 16:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 17:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 18:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.41 | 0 | 0 | 1.2
79 | VAL | 2026-04-18 | 19:07 |  | 0.25 | 0 | 0 | 0.8
79 | VAL | 2026-04-18 | 19:08 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:09 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:10 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:11 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:12 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:13 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:14 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:15 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:16 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:17 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:18 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:19 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:20 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:21 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:22 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 19:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 19:59 |  | 0.01 | 0 | 0 | 0.4
79 | VAL | 2026-04-18 | 20:00 |  | 0.02 | 0 | 0 | 0.4
79 | VAL | 2026-04-18 | 20:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:23 |  | 0.09 | 0.04 | 0 | 0.5
79 | VAL | 2026-04-18 | 20:24 |  | 0.42 | 0.04 | 0 | 0.7
79 | VAL | 2026-04-18 | 20:25 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:26 |  | 0.1 | 0.04 | 0 | 0.6
79 | VAL | 2026-04-18 | 20:27 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:28 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:29 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:30 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:31 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:32 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:33 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:34 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:35 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:36 |  | 0.6 | 0.04 | 0 | 0.9
79 | VAL | 2026-04-18 | 20:37 |  | 0.08 | 0.04 | 0 | 0.7
79 | VAL | 2026-04-18 | 20:38 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:39 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:40 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:41 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:42 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:43 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:44 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:45 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:46 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:47 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:48 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:49 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:50 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:51 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:52 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 20:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 20:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:03 |  | 0.03 | 0 | 0 | 0.4
79 | VAL | 2026-04-18 | 21:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:31 |  | 0.09 | 0 | 0 | 0.5
79 | VAL | 2026-04-18 | 21:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:38 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:39 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:40 |  | 0.19 | 0.08 | 0 | 1.1
79 | VAL | 2026-04-18 | 21:41 |  | 0.74 | 0.08 | 0 | 1.2
79 | VAL | 2026-04-18 | 21:42 |  | 0.11 | 0.08 | 0 | 0.5
79 | VAL | 2026-04-18 | 21:43 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:44 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:45 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:46 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:47 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:48 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:49 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:50 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:51 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:52 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 21:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 21:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-18 | 22:53 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 22:54 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 22:55 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 22:56 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 22:57 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 22:58 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 22:59 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 23:00 |  | 0.36 | 0.02 | 0 | 0.7
79 | VAL | 2026-04-18 | 23:01 |  | 0.62 | 0.02 | 0.4 | 0.8
79 | VAL | 2026-04-18 | 23:02 |  | 0.82 | 0.02 | 0.5 | 1.1
79 | VAL | 2026-04-18 | 23:03 |  | 0.19 | 0.02 | 0 | 0.8
79 | VAL | 2026-04-18 | 23:04 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 23:05 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-18 | 23:06 |  | 0.23 | 0.02 | 0 | 0.5
79 | VAL | 2026-04-18 | 23:07 |  | 0.01 | 0.02 | 0 | 0.4
79 | VAL | 2026-04-18 | 23:08 |  | 0.4 | 0.3 | 0 | 0.6
79 | VAL | 2026-04-18 | 23:09 |  | 0.33 | 0.3 | 0 | 0.7
79 | VAL | 2026-04-18 | 23:10 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:11 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:12 |  | 0.4 | 0.3 | 0 | 0.8
79 | VAL | 2026-04-18 | 23:13 |  | 0.58 | 0.3 | 0.4 | 0.8
79 | VAL | 2026-04-18 | 23:14 |  | 0.55 | 0.3 | 0.4 | 0.7
79 | VAL | 2026-04-18 | 23:15 |  | 0.3 | 0.3 | 0 | 0.5
79 | VAL | 2026-04-18 | 23:16 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:17 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:18 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:19 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:20 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:21 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:22 |  | 0 | 0.3 | 0 | 0
79 | VAL | 2026-04-18 | 23:23 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:24 |  | 0.11 | 0.08 | 0 | 0.6
79 | VAL | 2026-04-18 | 23:25 |  | 0.73 | 0.08 | 0.4 | 1.1
79 | VAL | 2026-04-18 | 23:26 |  | 0.29 | 0.08 | 0 | 0.9
79 | VAL | 2026-04-18 | 23:27 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:28 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:29 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:30 |  | 0.11 | 0.08 | 0 | 0.7
79 | VAL | 2026-04-18 | 23:31 |  | 0.55 | 0.08 | 0 | 1
79 | VAL | 2026-04-18 | 23:32 |  | 0.69 | 0.08 | 0 | 1.3
79 | VAL | 2026-04-18 | 23:33 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:34 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:35 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:36 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:37 |  | 0 | 0.08 | 0 | 0
79 | VAL | 2026-04-18 | 23:38 |  | 0.32 | 0.14 | 0 | 0.8
79 | VAL | 2026-04-18 | 23:39 |  | 0.06 | 0.14 | 0 | 0.6
79 | VAL | 2026-04-18 | 23:40 |  | 0.03 | 0.14 | 0 | 0.5
79 | VAL | 2026-04-18 | 23:41 |  | 0.45 | 0.14 | 0 | 0.8
79 | VAL | 2026-04-18 | 23:42 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:43 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:44 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:45 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:46 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:47 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:48 |  | 0.6 | 0.14 | 0 | 0.8
79 | VAL | 2026-04-18 | 23:49 |  | 0.07 | 0.14 | 0 | 0.8
79 | VAL | 2026-04-18 | 23:50 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:51 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:52 |  | 0 | 0.14 | 0 | 0
79 | VAL | 2026-04-18 | 23:53 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 23:54 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 23:55 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 23:56 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 23:57 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 23:58 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-18 | 23:59 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-19 | 0:00 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-19 | 0:01 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-19 | 0:02 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-19 | 0:03 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-19 | 0:04 |  | 0.63 | 0.04 | 0 | 0.9
79 | VAL | 2026-04-19 | 0:05 |  | 0.55 | 0.04 | 0.5 | 0.6
79 | VAL | 2026-04-19 | 0:06 |  | 0.11 | 0.04 | 0 | 0.5
79 | VAL | 2026-04-19 | 0:07 |  | 0 | 0.04 | 0 | 0
79 | VAL | 2026-04-19 | 0:08 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:09 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:10 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:11 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:12 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:13 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:14 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:15 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:16 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:17 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:18 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:19 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:20 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:21 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:22 |  | 0 | 0.09 | 0 | 0
79 | VAL | 2026-04-19 | 0:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:38 |  | 0.06 | 0 | 0 | 0.5
79 | VAL | 2026-04-19 | 0:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:51 |  | 0.03 | 0 | 0 | 0.4
79 | VAL | 2026-04-19 | 0:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 0:53 |  | 0.22 | 0.03 | 0 | 0.6
79 | VAL | 2026-04-19 | 0:54 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 0:55 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 0:56 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 0:57 |  | 0.11 | 0.03 | 0 | 0.5
79 | VAL | 2026-04-19 | 0:58 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 0:59 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:00 |  | 0.05 | 0.03 | 0 | 0.4
79 | VAL | 2026-04-19 | 1:01 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:02 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:03 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:04 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:05 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:06 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:07 |  | 0 | 0.03 | 0 | 0
79 | VAL | 2026-04-19 | 1:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:21 |  | 0.04 | 0 | 0 | 0.4
79 | VAL | 2026-04-19 | 1:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:23 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:24 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:25 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:26 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:27 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:28 |  | 0.09 | 0.01 | 0 | 0.5
79 | VAL | 2026-04-19 | 1:29 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:30 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:31 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:32 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:33 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:34 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:35 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:36 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:37 |  | 0 | 0.01 | 0 | 0
79 | VAL | 2026-04-19 | 1:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:48 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:51 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:52 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:53 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:54 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:55 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:56 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:57 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:58 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 1:59 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:00 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:01 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:02 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:03 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:04 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:05 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:06 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:07 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:08 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:09 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:10 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:11 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:12 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:13 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:14 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:15 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:16 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:17 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:18 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:19 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:20 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:21 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:22 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:23 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:24 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:25 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:26 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:27 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:28 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:29 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:30 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:31 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:32 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:33 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:34 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:35 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:36 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:37 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:38 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:39 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:40 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:41 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:42 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:43 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:44 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:45 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:46 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:47 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:48 |  | 0.2 | 0 | 0 | 0.7
79 | VAL | 2026-04-19 | 2:49 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:50 |  | 0 | 0 | 0 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.24 | 0 | 0 | 1
79 | VAL | 2026-04-19 | 2:52 |  | 0.15 | 0 | 0 | 0.9
79 | VAL | 2026-04-19 | 2:53 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 2:54 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 2:55 |  | 0.14 | 0.06 | 0 | 0.8
79 | VAL | 2026-04-19 | 2:56 |  | 0.14 | 0.06 | 0 | 0.8
79 | VAL | 2026-04-19 | 2:57 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 2:58 |  | 0.04 | 0.06 | 0 | 0.5
79 | VAL | 2026-04-19 | 2:59 |  | 0.03 | 0.06 | 0 | 0.5
79 | VAL | 2026-04-19 | 3:00 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 3:01 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 3:02 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 3:03 |  | 0.13 | 0.06 | 0 | 0.7
79 | VAL | 2026-04-19 | 3:04 |  | 0.07 | 0.06 | 0 | 0.4
79 | VAL | 2026-04-19 | 3:05 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 3:06 |  | 0 | 0.06 | 0 | 0
79 | VAL | 2026-04-19 | 3:07 |  | 0.21 | 0.06 | 0 | 0.6
79 | VAL | 2026-04-19 | 3:08 |  | 0.07 | 0.05 | 0 | 0.4
79 | VAL | 2026-04-19 | 3:09 |  | 0 | 0.05 | 0 | 0
79 | VAL | 2026-04-19 | 3:10 |  | 0 | 0.05 | 0 | 0
79 | VAL | 2026-04-19 | 3:11 |  | 0 | 0.05 | 0 | 0
79 | VAL | 2026-04-19 | 3:12 |  | 0 | 0.05 | 0 | 0
79 | VAL | 2026-04-19 | 3:13 |  | 0.17 | 0.05 | 0 | 0.6
79 | VAL | 2026-04-19 | 3:14 |  | 0.02 | 0.05 | 0 | 0.5
79 | VAL | 2026-04-19 | 3:15 |  | 0 | 0.05 | 0 | 0
79 | VAL | 2026-04-19 | 3:16 |  | 0.25 | 0.05 | 0 | 0.8
79 | VAL | 2026-04-19 | 3:17 |  | 0.87 | 0.05 | 0 | 1.2
79 | VAL | 2026-04-19 | 3:18 |  | 0.56 | 0.05 | 0 | 1.4
79 | VAL | 2026-04-19 | 3:19 |  | 0.06 | 0.05 | 0 | 0.8
79 | VAL | 2026-04-19 | 3:20 |  | 0.33 | 0.05 | 0 | 0.9
79 | VAL | 2026-04-19 | 3:21 |  | 1.04 | 0.05 | 0.7 | 1.4
79 | VAL | 2026-04-19 | 3:22 |  | 0.84 | 0.05 | 0 | 1.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.6 | 0.5 | 0 | 1.1
79 | VAL | 2026-04-19 | 3:24 |  | 0.16 | 0.5 | 0 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.18 | 0.5 | 0 | 0.9
79 | VAL | 2026-04-19 | 3:26 |  | 1.1 | 0.5 | 0 | 1.3
79 | VAL | 2026-04-19 | 3:27 |  | 0.56 | 0.5 | 0 | 0.8
79 | VAL | 2026-04-19 | 3:28 |  | 0.18 | 0.5 | 0 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.13 | 0.5 | 0 | 0.7
79 | VAL | 2026-04-19 | 3:30 |  | 0.68 | 0.5 | 0.4 | 1
79 | VAL | 2026-04-19 | 3:31 |  | 1.29 | 0.5 | 1 | 1.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.29 | 0.5 | 1 | 1.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.32 | 0.5 | 1 | 1.9
79 | VAL | 2026-04-19 | 3:34 |  | 0.25 | 0.5 | 0 | 1.2
79 | VAL | 2026-04-19 | 3:35 |  | 0.4 | 0.5 | 0 | 0.8
79 | VAL | 2026-04-19 | 3:36 |  | 0.65 | 0.5 | 0 | 1.1
79 | VAL | 2026-04-19 | 3:37 |  | 0.33 | 0.5 | 0 | 0.8
79 | VAL | 2026-04-19 | 3:38 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:39 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:40 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:41 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:42 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:43 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:44 |  | 0.14 | 0.38 | 0 | 0.4
79 | VAL | 2026-04-19 | 3:45 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:46 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:47 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:48 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:49 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:50 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:51 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:52 |  | 0 | 0.38 | 0 | 0
79 | VAL | 2026-04-19 | 3:53 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 3:54 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 3:55 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 3:56 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 3:57 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 3:58 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 3:59 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 4:00 |  | 0.33 | 0.02 | 0 | 0.7
79 | VAL | 2026-04-19 | 4:01 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 4:02 |  | 0.57 | 0.02 | 0 | 0.8
79 | VAL | 2026-04-19 | 4:03 |  | 0.42 | 0.02 | 0 | 0.8
79 | VAL | 2026-04-19 | 4:04 |  | 0.03 | 0.02 | 0 | 0.4
79 | VAL | 2026-04-19 | 4:05 |  | 0.25 | 0.02 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:06 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 4:07 |  | 0 | 0.02 | 0 | 0
79 | VAL | 2026-04-19 | 4:08 |  | 0.12 | 0.19 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:09 |  | 0.4 | 0.19 | 0 | 0.9
79 | VAL | 2026-04-19 | 4:10 |  | 0.12 | 0.19 | 0 | 0.6
79 | VAL | 2026-04-19 | 4:11 |  | 0 | 0.19 | 0 | 0
79 | VAL | 2026-04-19 | 4:12 |  | 0.03 | 0.19 | 0 | 0.4
79 | VAL | 2026-04-19 | 4:13 |  | 0 | 0.19 | 0 | 0
79 | VAL | 2026-04-19 | 4:14 |  | 0.6 | 0.19 | 0 | 0.9
79 | VAL | 2026-04-19 | 4:15 |  | 0.25 | 0.19 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:16 |  | 0.13 | 0.19 | 0 | 0.6
79 | VAL | 2026-04-19 | 4:17 |  | 0 | 0.19 | 0 | 0
79 | VAL | 2026-04-19 | 4:18 |  | 0.55 | 0.19 | 0 | 1.1
79 | VAL | 2026-04-19 | 4:19 |  | 0.07 | 0.19 | 0 | 0.7
79 | VAL | 2026-04-19 | 4:20 |  | 0.1 | 0.19 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:21 |  | 0.04 | 0.19 | 0 | 0.4
79 | VAL | 2026-04-19 | 4:22 |  | 0 | 0.19 | 0 | 0
79 | VAL | 2026-04-19 | 4:23 |  | 0.01 | 0.27 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:24 |  | 0.21 | 0.27 | 0 | 0.8
79 | VAL | 2026-04-19 | 4:25 |  | 0.57 | 0.27 | 0 | 1.2
79 | VAL | 2026-04-19 | 4:26 |  | 0.58 | 0.27 | 0.4 | 1.2
79 | VAL | 2026-04-19 | 4:27 |  | 0.33 | 0.27 | 0 | 0.8
79 | VAL | 2026-04-19 | 4:28 |  | 0.12 | 0.27 | 0 | 0.6
79 | VAL | 2026-04-19 | 4:29 |  | 0.68 | 0.27 | 0.4 | 1.2
79 | VAL | 2026-04-19 | 4:30 |  | 0.7 | 0.27 | 0.5 | 1
79 | VAL | 2026-04-19 | 4:31 |  | 0.12 | 0.27 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:32 |  | 0.17 | 0.27 | 0 | 0.7
79 | VAL | 2026-04-19 | 4:33 |  | 0.1 | 0.27 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:34 |  | 0.11 | 0.27 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:35 |  | 0.05 | 0.27 | 0 | 0.4
79 | VAL | 2026-04-19 | 4:36 |  | 0 | 0.27 | 0 | 0
79 | VAL | 2026-04-19 | 4:37 |  | 0.09 | 0.27 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:38 |  | 0.21 | 0.44 | 0 | 0.8
79 | VAL | 2026-04-19 | 4:39 |  | 0.91 | 0.44 | 0.7 | 1.1
79 | VAL | 2026-04-19 | 4:40 |  | 0.87 | 0.44 | 0.6 | 1.1
79 | VAL | 2026-04-19 | 4:41 |  | 0.55 | 0.44 | 0 | 0.9
79 | VAL | 2026-04-19 | 4:42 |  | 1.13 | 0.44 | 0.7 | 1.3
79 | VAL | 2026-04-19 | 4:43 |  | 0.67 | 0.44 | 0.5 | 1.1
79 | VAL | 2026-04-19 | 4:44 |  | 1.02 | 0.44 | 0.7 | 1.5
79 | VAL | 2026-04-19 | 4:45 |  | 0.59 | 0.44 | 0 | 1
79 | VAL | 2026-04-19 | 4:46 |  | 0.92 | 0.44 | 0.5 | 1.2
79 | VAL | 2026-04-19 | 4:47 |  | 0.04 | 0.44 | 0 | 0.5
79 | VAL | 2026-04-19 | 4:48 |  | 0.75 | 0.44 | 0 | 1.6
79 | VAL | 2026-04-19 | 4:49 |  | 0.7 | 0.44 | 0 | 1.6
79 | VAL | 2026-04-19 | 4:50 |  | 0 | 0.44 | 0 | 0
79 | VAL | 2026-04-19 | 4:51 |  | 0.65 | 0.44 | 0 | 1.3
79 | VAL | 2026-04-19 | 4:52 |  | 0.62 | 0.44 | 0 | 1.2
79 | VAL | 2026-04-19 | 4:53 |  | 0.67 | 0.65 | 0 | 1
79 | VAL | 2026-04-19 | 4:54 |  | 1.03 | 0.65 | 0.6 | 1.4
79 | VAL | 2026-04-19 | 4:55 |  | 0.99 | 0.65 | 0.8 | 1.2
79 | VAL | 2026-04-19 | 4:56 |  | 1.2 | 0.65 | 1 | 1.7
79 | VAL | 2026-04-19 | 4:57 |  | 0.69 | 0.65 | 0 | 1.7
79 | VAL | 2026-04-19 | 4:58 |  | 0.65 | 0.65 | 0 | 1.3
79 | VAL | 2026-04-19 | 4:59 |  | 0.32 | 0.65 | 0 | 0.9
79 | VAL | 2026-04-19 | 5:00 |  | 0.45 | 0.65 | 0 | 0.9
79 | VAL | 2026-04-19 | 5:01 |  | 0.99 | 0.65 | 0.7 | 1.2
79 | VAL | 2026-04-19 | 5:02 |  | 0.59 | 0.65 | 0.5 | 0.8
79 | VAL | 2026-04-19 | 5:03 |  | 0.74 | 0.65 | 0.5 | 1
79 | VAL | 2026-04-19 | 5:04 |  | 1.21 | 0.65 | 0.8 | 1.4
79 | VAL | 2026-04-19 | 5:05 |  | 1.38 | 0.65 | 1.3 | 1.5
79 | VAL | 2026-04-19 | 5:06 |  | 0.95 | 0.65 | 0.8 | 1.3
79 | VAL | 2026-04-19 | 5:07 |  | 1.05 | 0.65 | 0.9 | 1.2
79 | VAL | 2026-04-19 | 5:08 |  | 1.25 | 0.86 | 0.8 | 1.5
79 | VAL | 2026-04-19 | 5:09 |  | 1.01 | 0.86 | 0.9 | 1.1
79 | VAL | 2026-04-19 | 5:10 |  | 1.19 | 0.86 | 0.7 | 2
79 | VAL | 2026-04-19 | 5:11 |  | 1.03 | 0.86 | 0.7 | 1.3
79 | VAL | 2026-04-19 | 5:12 |  | 0.61 | 0.86 | 0.5 | 0.7
79 | VAL | 2026-04-19 | 5:13 |  | 0.63 | 0.86 | 0 | 0.9
79 | VAL | 2026-04-19 | 5:14 |  | 0.27 | 0.86 | 0 | 0.6
79 | EVE | 2026-04-19 | 23:36 | Device Event Battery Pre-Alarm set: Battery voltage is low, shutdown in about 20 minutes
79 | EVE | 2026-04-20 | 1:38 | Device Event Battery Pre-Alarm reset: Battery voltage is low, shutdown in about 20 minutes
79 | EVE | 2026-04-20 | 1:38 | Device Event Battery Main-Alarm set: Battery voltage is very low, shutdown in a few seconds