## X-am 8000__ARUB-0025
H2S
| A1 alarm |  |  |  | 10.00 ppm
| A2 alarm |  |  |  | 15.00 ppm
| Part number |  |  |  | 6811525
| Serial number |  |  |  | ARSL0420
| Interval creation |  |  |  | Value | Moving average
[5 empty] | measured | 15min
79 | EVE | 2026-04-16 | 21:44 | Pump off
79 | EVE | 2026-04-18 | 10:53 | Device Event Battery Main-Alarm reset: Battery voltage is very low, shutdown in a few seconds
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning set: sensor in warm up 1
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning set: sensor in warm up 2
79 | EVE | 2026-04-18 | 10:54 | Event Adapter Pump attached
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning reset: sensor in warm up 1
79 | EVE | 2026-04-18 | 10:54 | Channel Event H2S Warning reset: sensor in warm up 2
79 | EVE | 2026-04-18 | 10:54 | Pump on
79 | EVE | 2026-04-18 | 10:54 | Leakagetest Pump passed successful
79 | VAL | 2026-04-18 | 10:54 |  | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.5 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.6 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.7 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.8 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.9 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 1 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 1.1 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 1.2 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 1.1 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 1 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.9 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.8 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.7 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.6 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.5 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.6 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.5 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 19:06 |  | 0 | 0
79 | VAL | 2026-04-18 | 19:07 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 19:07 |  | 0 | 0
79 | VAL | 2026-04-18 | 19:59 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 19:59 |  | 0 | 0
79 | VAL | 2026-04-18 | 20:23 |  | 0.4 | 0.04
79 | VAL | 2026-04-18 | 20:23 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:23 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:23 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:23 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:24 |  | 0.7 | 0.04
79 | VAL | 2026-04-18 | 20:24 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:24 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:24 |  | 0.4 | 0.04
79 | VAL | 2026-04-18 | 20:24 |  | 0 | 0.04
79 | VAL | 2026-04-18 | 20:26 |  | 0.4 | 0.04
79 | VAL | 2026-04-18 | 20:26 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:26 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:26 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:26 |  | 0.4 | 0.04
79 | VAL | 2026-04-18 | 20:26 |  | 0 | 0.04
79 | VAL | 2026-04-18 | 20:35 |  | 0.4 | 0.04
79 | VAL | 2026-04-18 | 20:35 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:35 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:35 |  | 0.7 | 0.04
79 | VAL | 2026-04-18 | 20:35 |  | 0.8 | 0.04
79 | VAL | 2026-04-18 | 20:35 |  | 0.9 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.8 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.7 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.7 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.6 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.5 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0.4 | 0.04
79 | VAL | 2026-04-18 | 20:36 |  | 0 | 0.04
79 | VAL | 2026-04-18 | 21:03 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 21:03 |  | 0 | 0
79 | VAL | 2026-04-18 | 21:30 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 21:30 |  | 0.5 | 0
79 | VAL | 2026-04-18 | 21:31 |  | 0.4 | 0
79 | VAL | 2026-04-18 | 21:31 |  | 0 | 0
79 | VAL | 2026-04-18 | 21:40 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 1.1 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 1.1 | 0.08
79 | VAL | 2026-04-18 | 21:40 |  | 1.2 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 1.1 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 21:41 |  | 0 | 0.08
79 | VAL | 2026-04-18 | 22:59 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 22:59 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.7 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.7 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.8 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.7 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:00 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.7 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.7 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.8 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 0.9 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 1 | 0.02
79 | VAL | 2026-04-18 | 23:01 |  | 1.1 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 1 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0.9 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0.8 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0.7 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:02 |  | 0 | 0.02
79 | VAL | 2026-04-18 | 23:05 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:05 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:05 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:05 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:06 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:06 |  | 0 | 0.02
79 | VAL | 2026-04-18 | 23:07 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:07 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:07 |  | 0.6 | 0.02
79 | VAL | 2026-04-18 | 23:07 |  | 0.5 | 0.02
79 | VAL | 2026-04-18 | 23:07 |  | 0.4 | 0.02
79 | VAL | 2026-04-18 | 23:07 |  | 0 | 0.02
79 | VAL | 2026-04-18 | 23:08 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.7 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:08 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:09 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:09 |  | 0 | 0.3
79 | VAL | 2026-04-18 | 23:11 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:11 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.7 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.8 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.7 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:12 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:13 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:13 |  | 0.7 | 0.3
79 | VAL | 2026-04-18 | 23:13 |  | 0.8 | 0.3
79 | VAL | 2026-04-18 | 23:13 |  | 0.7 | 0.3
79 | VAL | 2026-04-18 | 23:13 |  | 0.6 | 0.3
79 | VAL | 2026-04-18 | 23:13 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:14 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:14 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:14 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:14 |  | 0 | 0.3
79 | VAL | 2026-04-18 | 23:14 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:15 |  | 0.5 | 0.3
79 | VAL | 2026-04-18 | 23:15 |  | 0.4 | 0.3
79 | VAL | 2026-04-18 | 23:15 |  | 0 | 0.3
79 | VAL | 2026-04-18 | 23:24 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 23:24 |  | 1.1 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:25 |  | 0 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:30 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1.1 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1.2 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1.3 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1.2 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1.1 | 0.08
79 | VAL | 2026-04-18 | 23:31 |  | 1 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0.9 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0.8 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0.7 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0.6 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0.5 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:32 |  | 0 | 0.08
79 | VAL | 2026-04-18 | 23:37 |  | 0.4 | 0.08
79 | VAL | 2026-04-18 | 23:38 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.8 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0.4 | 0.14
79 | VAL | 2026-04-18 | 23:38 |  | 0 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.4 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.8 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:40 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:41 |  | 0.4 | 0.14
79 | VAL | 2026-04-18 | 23:41 |  | 0 | 0.14
79 | VAL | 2026-04-18 | 23:47 |  | 0.4 | 0.14
79 | VAL | 2026-04-18 | 23:47 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:47 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:47 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:47 |  | 0.8 | 0.14
79 | VAL | 2026-04-18 | 23:47 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:48 |  | 0.8 | 0.14
79 | VAL | 2026-04-18 | 23:48 |  | 0.7 | 0.14
79 | VAL | 2026-04-18 | 23:48 |  | 0.6 | 0.14
79 | VAL | 2026-04-18 | 23:48 |  | 0.5 | 0.14
79 | VAL | 2026-04-18 | 23:48 |  | 0.4 | 0.14
79 | VAL | 2026-04-18 | 23:48 |  | 0 | 0.14
79 | VAL | 2026-04-19 | 0:03 |  | 0.4 | 0.04
79 | VAL | 2026-04-19 | 0:03 |  | 0.5 | 0.04
79 | VAL | 2026-04-19 | 0:03 |  | 0.6 | 0.04
79 | VAL | 2026-04-19 | 0:03 |  | 0.7 | 0.04
79 | VAL | 2026-04-19 | 0:03 |  | 0.8 | 0.04
79 | VAL | 2026-04-19 | 0:03 |  | 0.9 | 0.04
79 | VAL | 2026-04-19 | 0:03 |  | 0.8 | 0.04
79 | VAL | 2026-04-19 | 0:04 |  | 0.7 | 0.04
79 | VAL | 2026-04-19 | 0:04 |  | 0.6 | 0.04
79 | VAL | 2026-04-19 | 0:04 |  | 0.5 | 0.04
79 | VAL | 2026-04-19 | 0:04 |  | 0.6 | 0.04
79 | VAL | 2026-04-19 | 0:04 |  | 0.5 | 0.04
79 | VAL | 2026-04-19 | 0:05 |  | 0.6 | 0.04
79 | VAL | 2026-04-19 | 0:05 |  | 0.5 | 0.04
79 | VAL | 2026-04-19 | 0:05 |  | 0.4 | 0.04
79 | VAL | 2026-04-19 | 0:05 |  | 0 | 0.04
79 | VAL | 2026-04-19 | 0:05 |  | 0.4 | 0.04
79 | VAL | 2026-04-19 | 0:06 |  | 0 | 0.04
79 | VAL | 2026-04-19 | 0:37 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 0:38 |  | 0.5 | 0
79 | VAL | 2026-04-19 | 0:38 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 0:38 |  | 0 | 0
79 | VAL | 2026-04-19 | 0:50 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 0:50 |  | 0 | 0
79 | VAL | 2026-04-19 | 0:52 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 0:52 |  | 0 | 0
79 | VAL | 2026-04-19 | 0:53 |  | 0.4 | 0.03
79 | VAL | 2026-04-19 | 0:53 |  | 0.5 | 0.03
79 | VAL | 2026-04-19 | 0:53 |  | 0.6 | 0.03
79 | VAL | 2026-04-19 | 0:53 |  | 0.5 | 0.03
79 | VAL | 2026-04-19 | 0:53 |  | 0.4 | 0.03
79 | VAL | 2026-04-19 | 0:53 |  | 0 | 0.03
79 | VAL | 2026-04-19 | 0:56 |  | 0.4 | 0.03
79 | VAL | 2026-04-19 | 0:56 |  | 0.5 | 0.03
79 | VAL | 2026-04-19 | 0:56 |  | 0.4 | 0.03
79 | VAL | 2026-04-19 | 0:56 |  | 0 | 0.03
79 | VAL | 2026-04-19 | 0:59 |  | 0.4 | 0.03
79 | VAL | 2026-04-19 | 1:00 |  | 0 | 0.03
79 | VAL | 2026-04-19 | 1:21 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 1:21 |  | 0 | 0
79 | VAL | 2026-04-19 | 1:27 |  | 0.4 | 0.01
79 | VAL | 2026-04-19 | 1:27 |  | 0.5 | 0.01
79 | VAL | 2026-04-19 | 1:27 |  | 0.4 | 0.01
79 | VAL | 2026-04-19 | 1:27 |  | 0 | 0.01
79 | VAL | 2026-04-19 | 2:47 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 2:47 |  | 0.5 | 0
79 | VAL | 2026-04-19 | 2:47 |  | 0.6 | 0
79 | VAL | 2026-04-19 | 2:47 |  | 0.7 | 0
79 | VAL | 2026-04-19 | 2:47 |  | 0.6 | 0
79 | VAL | 2026-04-19 | 2:47 |  | 0.5 | 0
79 | VAL | 2026-04-19 | 2:48 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 2:48 |  | 0 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.5 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.6 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.7 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.8 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.9 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 1 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.9 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.8 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.7 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.6 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.5 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0.4 | 0
79 | VAL | 2026-04-19 | 2:51 |  | 0 | 0
79 | VAL | 2026-04-19 | 2:55 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.6 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.7 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.8 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.7 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.6 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 2:55 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 2:58 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 2:58 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 2:58 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 2:58 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.6 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.7 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.6 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:02 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 3:03 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:04 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 3:04 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:04 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0.6 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0.5 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0.4 | 0.06
79 | VAL | 2026-04-19 | 3:07 |  | 0 | 0.06
79 | VAL | 2026-04-19 | 3:12 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:12 |  | 0 | 0.05
79 | VAL | 2026-04-19 | 3:13 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:13 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:13 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:13 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:13 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:13 |  | 0 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:16 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:17 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.3 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.4 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.3 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:18 |  | 0 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:20 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.3 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.4 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.3 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.3 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.4 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.5 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.4 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.3 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.2 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:21 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.4 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.5 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.6 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.7 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.8 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 0.9 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 1 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 1.1 | 0.05
79 | VAL | 2026-04-19 | 3:22 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:23 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:25 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:26 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:27 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:28 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:28 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:29 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.5 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:30 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.5 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:31 |  | 1.5 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:32 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.5 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.6 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.7 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.8 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.9 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.8 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.7 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.6 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.5 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.4 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.3 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.2 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:33 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:34 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:34 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:35 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 1.1 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 1 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.9 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.8 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.7 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.6 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.5 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0.4 | 0.5
79 | VAL | 2026-04-19 | 3:36 |  | 0 | 0.5
79 | VAL | 2026-04-19 | 3:43 |  | 0.4 | 0.38
79 | VAL | 2026-04-19 | 3:43 |  | 0 | 0.38
79 | VAL | 2026-04-19 | 3:44 |  | 0.4 | 0.38
79 | VAL | 2026-04-19 | 3:44 |  | 0 | 0.38
79 | VAL | 2026-04-19 | 3:44 |  | 0.4 | 0.38
79 | VAL | 2026-04-19 | 3:44 |  | 0 | 0.38
79 | VAL | 2026-04-19 | 3:59 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 3:59 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 3:59 |  | 0.6 | 0.02
79 | VAL | 2026-04-19 | 3:59 |  | 0.7 | 0.02
79 | VAL | 2026-04-19 | 3:59 |  | 0.6 | 0.02
79 | VAL | 2026-04-19 | 3:59 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 3:59 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:00 |  | 0 | 0.02
79 | VAL | 2026-04-19 | 4:00 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:00 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 4:00 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:00 |  | 0 | 0.02
79 | VAL | 2026-04-19 | 4:01 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:01 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 4:01 |  | 0.6 | 0.02
79 | VAL | 2026-04-19 | 4:01 |  | 0.7 | 0.02
79 | VAL | 2026-04-19 | 4:01 |  | 0.8 | 0.02
79 | VAL | 2026-04-19 | 4:01 |  | 0.7 | 0.02
79 | VAL | 2026-04-19 | 4:02 |  | 0.6 | 0.02
79 | VAL | 2026-04-19 | 4:02 |  | 0.7 | 0.02
79 | VAL | 2026-04-19 | 4:02 |  | 0.8 | 0.02
79 | VAL | 2026-04-19 | 4:02 |  | 0.7 | 0.02
79 | VAL | 2026-04-19 | 4:02 |  | 0.8 | 0.02
79 | VAL | 2026-04-19 | 4:02 |  | 0.7 | 0.02
79 | VAL | 2026-04-19 | 4:03 |  | 0.6 | 0.02
79 | VAL | 2026-04-19 | 4:03 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 4:03 |  | 0 | 0.02
79 | VAL | 2026-04-19 | 4:04 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:04 |  | 0 | 0.02
79 | VAL | 2026-04-19 | 4:04 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:04 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 4:05 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:05 |  | 0 | 0.02
79 | VAL | 2026-04-19 | 4:07 |  | 0.4 | 0.02
79 | VAL | 2026-04-19 | 4:07 |  | 0.5 | 0.02
79 | VAL | 2026-04-19 | 4:08 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0.8 | 0.19
79 | VAL | 2026-04-19 | 4:08 |  | 0.9 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.8 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:09 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:11 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:11 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:13 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:13 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:13 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:13 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:13 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.8 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.9 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.8 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:14 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:15 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:15 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:16 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:16 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:16 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:16 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:16 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:16 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:17 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:17 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:17 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:17 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.8 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.9 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 1 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 1.1 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 1 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.9 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.8 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.7 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.6 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:18 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:19 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:19 |  | 0.5 | 0.19
79 | VAL | 2026-04-19 | 4:20 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:20 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:21 |  | 0.4 | 0.19
79 | VAL | 2026-04-19 | 4:21 |  | 0 | 0.19
79 | VAL | 2026-04-19 | 4:23 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:23 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:24 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:24 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:24 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.9 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 1 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 1.1 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 1.2 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 1.1 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 1 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.9 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:25 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:26 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:27 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:27 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:27 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:27 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:27 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:28 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.9 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 1 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 1.1 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 1.2 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 1.1 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 1 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.9 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:29 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:30 |  | 0.8 | 0.27
79 | VAL | 2026-04-19 | 4:30 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:30 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:30 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:30 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:30 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:31 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:31 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:31 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:32 |  | 0.7 | 0.27
79 | VAL | 2026-04-19 | 4:32 |  | 0.6 | 0.27
79 | VAL | 2026-04-19 | 4:32 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:32 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:32 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:33 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:33 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:33 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:33 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:33 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:33 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:35 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:35 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:37 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:37 |  | 0.5 | 0.27
79 | VAL | 2026-04-19 | 4:37 |  | 0.4 | 0.27
79 | VAL | 2026-04-19 | 4:37 |  | 0 | 0.27
79 | VAL | 2026-04-19 | 4:38 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:38 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:38 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:38 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:38 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:38 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:38 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:39 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:40 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:41 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 1.3 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:42 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.3 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.4 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.5 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.4 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.3 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:43 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:44 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:45 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:46 |  | 0 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:47 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.3 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.4 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.5 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.6 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.5 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.4 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.3 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:48 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:49 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:49 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:49 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:49 |  | 0 | 0.44
79 | VAL | 2026-04-19 | 4:50 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:50 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:50 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:50 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1.3 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1.2 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1.1 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 1 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:51 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.4 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.5 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.6 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.7 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.8 | 0.44
79 | VAL | 2026-04-19 | 4:52 |  | 0.9 | 0.44
79 | VAL | 2026-04-19 | 4:53 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:53 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 4:54 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:55 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.5 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.6 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.7 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.6 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.5 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 4:56 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.5 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.4 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.4 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.5 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 4:57 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.5 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0.4 | 0.65
79 | VAL | 2026-04-19 | 4:58 |  | 0 | 0.65
79 | VAL | 2026-04-19 | 4:59 |  | 0.4 | 0.65
79 | VAL | 2026-04-19 | 4:59 |  | 0.5 | 0.65
79 | VAL | 2026-04-19 | 4:59 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:00 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 5:01 |  | 0.5 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:02 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.5 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.6 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.7 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 5:03 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:04 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 5:04 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:04 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 5:04 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:04 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 5:04 |  | 1.5 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:05 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:06 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:06 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:06 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:06 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:06 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:06 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 0.8 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 0.9 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.1 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.2 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.4 | 0.65
79 | VAL | 2026-04-19 | 5:07 |  | 1.3 | 0.65
79 | VAL | 2026-04-19 | 5:08 |  | 1.4 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1.5 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1.4 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1.3 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1.2 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1.1 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 0.9 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1.1 | 0.86
79 | VAL | 2026-04-19 | 5:08 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 0.9 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 0.9 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 0.8 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 0.7 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 0.8 | 0.86
79 | VAL | 2026-04-19 | 5:09 |  | 0.9 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.1 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.2 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.3 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.4 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.5 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.6 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.7 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.8 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.9 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 2 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.9 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.8 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.7 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.6 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.5 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.4 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.3 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.2 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.1 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:10 |  | 1.1 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 1 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.9 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.8 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.7 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.5 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:11 |  | 0.7 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.7 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.8 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.9 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.8 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.7 | 0.86
79 | VAL | 2026-04-19 | 5:12 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.7 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.5 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.4 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.4 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.5 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.5 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.4 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.5 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.6 | 0.86
79 | VAL | 2026-04-19 | 5:13 |  | 0.5 | 0.86
79 | VAL | 2026-04-19 | 5:14 |  | 0.4 | 0.86
79 | VAL | 2026-04-19 | 5:14 |  | 0 | 0.86
79 | EVE | 2026-04-19 | 23:36 | Device Event Battery Pre-Alarm set: Battery voltage is low, shutdown in about 20 minutes
79 | EVE | 2026-04-20 | 1:38 | Device Event Battery Pre-Alarm reset: Battery voltage is low, shutdown in about 20 minutes
79 | EVE | 2026-04-20 | 1:38 | Device Event Battery Main-Alarm set: Battery voltage is very low, shutdown in a few seconds