## X-am 8000__ARUB-0025
H2S
| A1 alarm |  |  |  | 10.00 ppm
| A2 alarm |  |  |  | 15.00 ppm
| Part number |  |  |  | 6811525
| Serial number |  |  |  | ARSL0420
| Interval creation |  |  |  | Avg. | Moving average | Peak
[5 empty] | 1min | 15min | Min. | Max.
17 | EVE | 2026-03-12 | 12:32 | Pump off
17 | EVE | 2026-03-12 | 12:50 | Channel Event H2S Warning set: sensor in warm up 2
17 | EVE | 2026-03-12 | 12:50 | Channel Event H2S Warning set: sensor in warm up 1
17 | EVE | 2026-03-12 | 12:50 | Event Adapter Pump attached
17 | EVE | 2026-03-12 | 12:51 | Channel Event H2S Warning reset: sensor in warm up 2
17 | EVE | 2026-03-12 | 12:51 | Channel Event H2S Warning reset: sensor in warm up 1
17 | EVE | 2026-03-12 | 12:51 | Pump on
17 | EVE | 2026-03-12 | 12:51 | Leakagetest Pump passed successful
17 | VAL | 2026-03-12 | 12:51 |  | 0 |  | 0 | 0
17 | EVE | 2026-03-13 | 17:23 | Device Event Battery Pre-Alarm set: Battery voltage is low, shutdown in about 20 minutes
17 | EVE | 2026-03-13 | 19:22 | Device Event Battery Main-Alarm set: Battery voltage is very low, shutdown in a few seconds
17 | EVE | 2026-03-13 | 19:22 | Device Event Battery Pre-Alarm reset: Battery voltage is low, shutdown in about 20 minutes