## X-am 8000__ARUB-0025
H2S
| A1 alarm |  |  |  | 10.00 ppm
| A2 alarm |  |  |  | 15.00 ppm
| Part number |  |  |  | 6811525
| Serial number |  |  |  | ARSL0420
| Interval creation |  |  |  | Value | Moving average
[5 empty] | measured | 15min
35 | EVE | 2026-03-15 | 15:47 | Pump off
35 | EVE | 2026-03-15 | 15:48 | Channel Event H2S Warning set: sensor in warm up 1
35 | EVE | 2026-03-15 | 15:48 | Channel Event H2S Warning set: sensor in warm up 2
35 | EVE | 2026-03-15 | 15:48 | Event Adapter Pump attached
35 | EVE | 2026-03-15 | 15:48 | Pump on
35 | EVE | 2026-03-15 | 15:48 | Channel Event H2S Warning reset: sensor in warm up 1
35 | EVE | 2026-03-15 | 15:48 | Channel Event H2S Warning reset: sensor in warm up 2
35 | EVE | 2026-03-15 | 15:48 | Leakagetest Pump passed successful
35 | VAL | 2026-03-15 | 15:48 |  | 0
35 | VAL | 2026-03-16 | 23:38 |  | 0.4 | 0.04
35 | VAL | 2026-03-16 | 23:38 |  | 0.5 | 0.04
35 | VAL | 2026-03-16 | 23:38 |  | 0.6 | 0.04
35 | VAL | 2026-03-16 | 23:38 |  | 0.7 | 0.04
35 | VAL | 2026-03-16 | 23:39 |  | 0.6 | 0.04
35 | VAL | 2026-03-16 | 23:39 |  | 0.5 | 0.04
35 | VAL | 2026-03-16 | 23:39 |  | 0.4 | 0.04
35 | VAL | 2026-03-16 | 23:39 |  | 0 | 0.04
35 | VAL | 2026-03-16 | 23:39 |  | 0.4 | 0.04
35 | VAL | 2026-03-16 | 23:39 |  | 0 | 0.04
35 | VAL | 2026-03-16 | 23:42 |  | 0.5 | 0.04
35 | VAL | 2026-03-16 | 23:42 |  | 0.6 | 0.04
35 | VAL | 2026-03-16 | 23:42 |  | 0.7 | 0.04
35 | VAL | 2026-03-16 | 23:42 |  | 0.8 | 0.04
35 | VAL | 2026-03-16 | 23:43 |  | 0.7 | 0.04
35 | VAL | 2026-03-16 | 23:43 |  | 0.6 | 0.04
35 | VAL | 2026-03-16 | 23:43 |  | 0.5 | 0.04
35 | VAL | 2026-03-16 | 23:43 |  | 0.4 | 0.04
35 | VAL | 2026-03-16 | 23:43 |  | 0 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 0.4 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 0.5 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 0.6 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 0.7 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 0.8 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 0.9 | 0.04
35 | VAL | 2026-03-16 | 23:51 |  | 1 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 1.1 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 1.2 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 1.3 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 1.2 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 1.1 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 1 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0.9 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0.8 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0.7 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0.6 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0.5 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0.4 | 0.04
35 | VAL | 2026-03-16 | 23:52 |  | 0 | 0.04
35 | VAL | 2026-03-16 | 23:54 |  | 0.4 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.5 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.6 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.7 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.6 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.7 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.6 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.5 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0.4 | 0.09
35 | VAL | 2026-03-16 | 23:54 |  | 0 | 0.09
35 | VAL | 2026-03-16 | 23:57 |  | 0.4 | 0.09
35 | VAL | 2026-03-16 | 23:57 |  | 0.5 | 0.09
35 | VAL | 2026-03-16 | 23:57 |  | 0.4 | 0.09
35 | VAL | 2026-03-16 | 23:57 |  | 0 | 0.09
35 | VAL | 2026-03-16 | 23:58 |  | 0.4 | 0.09
35 | VAL | 2026-03-16 | 23:58 |  | 0 | 0.09
35 | VAL | 2026-03-16 | 23:58 |  | 0.4 | 0.09
35 | VAL | 2026-03-16 | 23:58 |  | 0 | 0.09
35 | EVE | 2026-03-17 | 0:00 | Device Event Battery Pre-Alarm set: Battery voltage is low, shutdown in about 20 minutes
35 | VAL | 2026-03-17 | 0:10 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:10 |  | 0.5 | 0.05
35 | VAL | 2026-03-17 | 0:10 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:10 |  | 0 | 0.05
35 | VAL | 2026-03-17 | 0:10 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:11 |  | 0.5 | 0.05
35 | VAL | 2026-03-17 | 0:11 |  | 0.6 | 0.05
35 | VAL | 2026-03-17 | 0:11 |  | 0.5 | 0.05
35 | VAL | 2026-03-17 | 0:11 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:11 |  | 0.5 | 0.05
35 | VAL | 2026-03-17 | 0:12 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:12 |  | 0 | 0.05
35 | VAL | 2026-03-17 | 0:15 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:15 |  | 0 | 0.05
35 | VAL | 2026-03-17 | 0:18 |  | 0.4 | 0.05
35 | VAL | 2026-03-17 | 0:18 |  | 0 | 0.05
35 | VAL | 2026-03-17 | 0:31 |  | 0.5 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 0.6 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 0.7 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 0.8 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.1 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.2 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.3 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.4 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.5 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.6 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.5 | 0
35 | VAL | 2026-03-17 | 0:31 |  | 1.4 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 1.3 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 1.2 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 1.1 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 1 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0.9 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0.8 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0.7 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0.6 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0.5 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0.4 | 0
35 | VAL | 2026-03-17 | 0:32 |  | 0 | 0
35 | VAL | 2026-03-17 | 0:50 |  | 0.4 | 0.04
35 | VAL | 2026-03-17 | 0:50 |  | 0.5 | 0.04
35 | VAL | 2026-03-17 | 0:50 |  | 0.6 | 0.04
35 | VAL | 2026-03-17 | 0:50 |  | 0.7 | 0.04
35 | VAL | 2026-03-17 | 0:50 |  | 0.8 | 0.04
35 | VAL | 2026-03-17 | 0:50 |  | 0.7 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0.6 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0.5 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0.4 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0.4 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0.5 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0.4 | 0.04
35 | VAL | 2026-03-17 | 0:51 |  | 0 | 0.04
35 | VAL | 2026-03-17 | 0:52 |  | 0.4 | 0.04
35 | VAL | 2026-03-17 | 0:52 |  | 0.5 | 0.04
35 | VAL | 2026-03-17 | 0:53 |  | 0.6 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.7 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.6 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.7 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.8 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.9 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 1 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 1.1 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 1 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.9 | 0.08
35 | VAL | 2026-03-17 | 0:53 |  | 0.8 | 0.08
35 | VAL | 2026-03-17 | 0:54 |  | 0.7 | 0.08
35 | VAL | 2026-03-17 | 0:54 |  | 0.6 | 0.08
35 | VAL | 2026-03-17 | 0:54 |  | 0.5 | 0.08
35 | VAL | 2026-03-17 | 0:54 |  | 0 | 0.08
35 | EVE | 2026-03-17 | 1:34 | Device Event Battery Pre-Alarm reset: Battery voltage is low, shutdown in about 20 minutes
35 | EVE | 2026-03-17 | 1:34 | Device Event Battery Main-Alarm set: Battery voltage is very low, shutdown in a few seconds